Garden Point Condominium Association Inc.

PO Box 50373, Lighthouse Point FL 33074

9543661392 or jamie@jsbprop.com

February 28, 2024

Reference:  Hurricane windows

Ancela Isakson

700 Pines Blvd #206

Pompano Beach Florida 33062

To Whom It May Concern,

This letter is provided by the Association to allow the Unit Owner to replace their existing windows with hurricane proof window.  This is the Unit Owners responsibility to update their windows with hurricane impact windows. The Unit Owner/Contractor must follow the following items:

- Window frames must be white, and the glass must be grey with the exception of the bathroom room window which may be frosted for privacy. Bedroom, kitchen and sliding glass door are to be grey tint

- Windows must open the same direction as the existing windows

- The contractor must make all repairs to concrete to include painting of the repairs, no exceptions within two weeks of final permit.

- Contractor must have a valid license and insurance to conduct work on the property –Windows.

- Contractor must clean up all debris from the location and not use our dumpsters for the debris

- Contractors must fix any damage to the common property to include the window framing.

- The final permit must be submitted to the management for our files.

If any of the items listed are not followed it will be the responsibility of the Unit owner and Contractor to rectify at their cost.

We appreciate your cooperation regarding this matter. Please feel free to contact us if you need further information.

Sincerely

Jamie Blum

Jamie Blum

JSB Property Management, Inc.